## Rolling 12 Month Forecast
Western Area Power Administration | [10 empty] | Starting Forecast Month: | 2026-09-01
Sierra Nevada Region
Twelve-Month Forecast of CVP Generation and Base Resource
[5 empty] | 2026-09-01 |  |  | - | 2027-08-01
Values at Load Center (Tracy Substation)
Based on Inflow | Exceedance Level: |  | 90% (Dry)
Month | CVP Generation |  | Project Use |  | First Preference |  | Losses |  |  |  | Reg & Res | Purchases and Exchanges | [5 empty] | Base Resource
| CVP Maximum Capability | CVP Energy Generation | Peak Project Use Demand | Project Use (PU) Load Energy | First Pref. (FP) Peak Demand | First Pref. (FP) Load Energy | CVPT | CVPT | COTP | COTP | Estimated Ancillary Services Capacity | PU Forward Purchase Off-Peak Energy | PU & FP Capacity Purchase Reqmts. | Additional PU & FP Energy Purchase Reqmts. | (This column for future use) | (This column for future use) | Ancillary Services Purchase Reqmt. | Project Capacity Available for BR | Energy Available for Base Resource | Capacity Factor
| (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (MW) | (GWh) | (%)
Column | A | B | C | D | E | F | G | H | I | J | K | L | M | N |  |  | O | P | Q | R
2026-09-01 | 1455.2729 | 417.4056 | 125 | 70 | 30.0932 | 17.1251 | 25.2729 | 7.4056 | 26.6083 | 19.158 | 182 | 0 | 0 | 0 |  |  | 0 | 1066.2984 | 303.7169 | 39.5601
2026-10-01 | 1103.8521 | 325.7632 | 105 | 55 | 28.5637 | 17.5998 | 18.8521 | 5.7632 | 16.5565 | 12.318 | 182 | 0 | 0 | 0 |  |  | 0 | 752.8798 | 235.0821 | 41.9683
2026-11-01 | 1231.063 | 224.0152 | 50 | 20 | 33.1432 | 19.5881 | 21.063 | 4.0152 | 20.6415 | 14.8825 | 182 | 0 | 0 | 0 |  |  | 0 | 924.2153 | 165.5294 | 24.8409
2026-12-01 | 1124.8784 | 142.6199 | 35 | 20 | 32.5497 | 20.8836 | 19.8784 | 2.6199 | 15.3878 | 11.4485 | 182 | 0 | 0 | 0 |  |  | 0 | 840.0625 | 87.6679 | 14.0267
2027-01-01 | 1496.0613 | 122.1958 | 85 | 90 | 34.3778 | 21.5657 | 26.0613 | 2.1958 | 14.1714 | 10.5435 | 182 | 0 | 0 | 0 |  |  | 0 | 1154.4508 | 0 | 0
2027-02-01 | 1511.3855 | 142.4247 | 80 | 65 | 34.4286 | 19.786 | 26.3855 | 2.4247 | 16.7633 | 11.44 | 182 | 0 | 0 | 0 |  |  | 0 | 1171.8081 | 43.774 | 5.5589
2027-03-01 | 1389.6225 | 193.3528 | 100 | 85 | 34.3488 | 20.3905 | 24.6225 | 3.3528 | 26.2934 | 19.536 | 182 | 0 | 0 | 0 |  |  | 0 | 1022.3578 | 65.0736 | 8.5667
2027-04-01 | 1495.7043 | 264.5835 | 65 | 40 | 31.3505 | 17.5987 | 25.7043 | 4.5835 | 32.7681 | 23.593 | 182 | 0 | 0 | 0 |  |  | 0 | 1158.8815 | 178.8083 | 21.4297
2027-05-01 | 1653.1645 | 539.3402 | 60 | 45 | 27.2197 | 17.1238 | 28.1645 | 9.3402 | 22.5188 | 16.754 | 182 | 0 | 0 | 0 |  |  | 0 | 1333.2615 | 451.1222 | 45.4785
2027-06-01 | 1475.24 | 580.1548 | 70 | 45 | 32.5769 | 18.1025 | 25.24 | 10.1548 | 39.1507 | 28.1885 | 182 | 0 | 0 | 0 |  |  | 0 | 1126.2724 | 478.709 | 59.0331
2027-07-01 | 1505.9219 | 590.2865 | 75 | 50 | 36.5226 | 20.2302 | 25.9219 | 10.2865 | 39.7238 | 29.5545 | 182 | 0 | 0 | 0 |  |  | 0 | 1146.7536 | 480.2153 | 56.285
2027-08-01 | 1592.7927 | 610.8687 | 205 | 135 | 34.2168 | 19.1881 | 27.7927 | 10.8687 | 36.2574 | 26.9755 | 182 | 0 | 0 | 0 |  |  | 0 | 1107.5258 | 418.8364 | 50.8297
Total | 17034.9592 | 4153.0108 | 1055 | 720 | 389.3915 | 229.1822 | 294.9592 | 73.0108 | 306.8409 | 224.392 |  | 0 |  | 0 |  |  |  |  | 2908.535
`
Based on Inflow | A: Exceedance Level:; C: 50% (Average)
Month | A: CVP Generation; C: Project Use; E: First Preference; G: Losses; K: Reg & Res; L: Purchases and Exchanges |  |  |  | Base Resource
| Maximum CVP Capacity | CVP Energy Generation | Peak Project Use Demand | Project Use (PU) Load Energy | First Pref. (FP) Peak Demand | First Pref. (FP) Load Energy | CVPT | CVPT | COTP | COTP | Estimated Ancillary Services Capacity | PU Forward Purchase Off-Peak Energy | PU & FP Capacity Purchase Reqmts. | Additional PU & FP Energy Purchase Reqmts. | (This column for future use) | (This column for future use) | Ancillary Services Purchase Reqmt. | Project Capacity Available for BR | Energy Available for Base Resource | Capacity Factor
| (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) | (MW) | (GWh) |  |  | (MW) | (MW) | (GWh) | (%)
Column | A | B | C | D | E | F | G | H | I | J | K | L | M | N |  |  | O | P | Q | R
2026-09-01 | 1536.075 | 386.8552 | 110 | 65 | 30.0932 | 17.1251 | 26.075 | 6.8552 | 26.6083 | 19.158 | 182 | 0 | 0 | 0 |  |  | 0 | 1161.2984 | 278.7169 | 33.334
2026-10-01 | 1023.0363 | 315.5656 | 145 | 100 | 28.5637 | 17.5998 | 18.0363 | 5.5656 | 16.5565 | 12.318 | 182 | 0 | 0 | 0 |  |  | 0 | 632.8798 | 180.0821 | 38.2452
2026-11-01 | 1226.0136 | 193.5061 | 50 | 25 | 33.1432 | 19.5881 | 21.0136 | 3.5061 | 20.6415 | 14.8825 | 182 | 0 | 0 | 0 |  |  | 0 | 919.2153 | 130.5294 | 19.695
2026-12-01 | 1155.3811 | 152.7172 | 60 | 60 | 32.5497 | 20.8836 | 20.3811 | 2.7172 | 15.3878 | 11.4485 | 182 | 0 | 0 | 0 |  |  | 0 | 845.0625 | 57.6679 | 9.1722
2027-01-01 | 1562.2518 | 122.2399 | 125 | 145 | 34.3778 | 21.5657 | 27.2518 | 2.2399 | 14.1714 | 10.5435 | 182 | 0 | 0 | 44.3258 |  |  | 0 | 1179.4508 | 0 | 0
2027-02-01 | 1628.3966 | 132.3439 | 135 | 130 | 34.4286 | 19.786 | 28.3966 | 2.3439 | 16.7633 | 11.44 | 182 | 0 | 0 | 17.4421 |  |  | 0 | 1231.8081 | 0 | 0
2027-03-01 | 1496.5214 | 193.3796 | 135 | 145 | 34.3488 | 20.3905 | 26.5214 | 3.3796 | 26.2934 | 19.536 | 182 | 0 | 0 | 0 |  |  | 0 | 1092.3578 | 5.0735 | 0.62511
2027-04-01 | 1511.8274 | 407.103 | 130 | 85 | 31.3505 | 17.5987 | 26.8274 | 7.103 | 32.7681 | 23.593 | 182 | 0 | 0 | 0 |  |  | 0 | 1108.8815 | 273.8083 | 34.2949
2027-05-01 | 1815.8338 | 641.1452 | 175 | 120 | 27.2197 | 17.1238 | 30.8338 | 11.1452 | 22.5188 | 16.754 | 182 | 0 | 0 | 0 |  |  | 0 | 1378.2615 | 476.1222 | 46.4316
2027-06-01 | 1663.3499 | 661.5175 | 185 | 120 | 32.5769 | 18.1025 | 28.3499 | 11.5175 | 39.1507 | 28.1885 | 182 | 0 | 0 | 0 |  |  | 0 | 1196.2724 | 483.709 | 56.1593
2027-07-01 | 1760.0291 | 712.3467 | 135 | 95 | 36.5226 | 20.2302 | 30.0291 | 12.3467 | 39.7238 | 29.5545 | 182 | 0 | 0 | 0 |  |  | 0 | 1336.7536 | 555.2153 | 55.8261
2027-08-01 | 1693.7457 | 580.2356 | 210 | 130 | 34.2168 | 19.1881 | 28.7457 | 10.2356 | 36.2574 | 26.9755 | 182 | 0 | 0 | 0 |  |  | 0 | 1202.5258 | 393.8364 | 44.0198
Total | 18072.4618 | 4498.9555 | 1595 | 1220 | 389.3915 | 229.1822 | 312.4618 | 78.9555 | 306.8409 | 224.392 |  | 0 |  | 61.768 |  |  |  |  | 2834.7611
Notes:
This forecast uses inflow forecasts from the beginning of the month before the first shown. The separate Base Resource Regression Forecast (emailed towards the 1st of each month) uses recent inflow forecasts.
Base Resource forecasts provided here are two scenarios representing the 50% and 90% inflow exceedances. These do not represent the Base Resource exceedances.
Base Resource forecast for the scenario representing the 90% inflow exceedance is greater than the 50% because there is less assumed pumping in the drier conditions.
*Important Updates to Methodology as of December 2024 power forecast*
1) California Oregon Transmission Losses are now included in the calculation of Base Resource within the forecast. Previous forecast did not include California Oregon Transmission Losses, resulting in a consistent over estimation of Base Resource.
2) CVP Transmission losses are now shown in the forecast. CVPT losses have always been factored into the forecast, but now shown as a separate column. Previous forecasts have provided the CVP Energy Generation in column A as a net after CVPT was removed. The current forecast shows Gross CVP Generation with a separate column for CVPT losses.
Formulas:
Month = DATE(YEAR([Month, row above]),MONTH([Month, row above])+1,DAY([Month, row above]))

## other_data
Month | Sundays | Holidays | HLH | LLH | Total | Year | Quarter | HLH | LLH | Total | Year | HLH | LLH | Total
2007-01-31 | 4 | 1 | 416 | 328 | 744 | 2007 | 1 | 1232 | 927 | 2159 | 2007 | 4912 | 3848 | 8760
2007-02-28 | 4 | 0 | 384 | 288 | 672 | 2007 | 2 | 1232 | 952 | 2184 | 2008 | 4928 | 3856 | 8784
2007-03-31 | 4 | 0 | 432 | 311 | 743 | 2007 | 3 | 1216 | 992 | 2208 | 2009 | 4912 | 3848 | 8760
2007-04-30 | 5 | 0 | 400 | 320 | 720 | 2007 | 4 | 1232 | 977 | 2209 | 2010 | 4912 | 3848 | 8760
2007-05-31 | 4 | 1 | 416 | 328 | 744 | 2008 | 1 | 1232 | 951 | 2183 | 2011 | 4912 | 3848 | 8760
2007-06-30 | 4 | 0 | 416 | 304 | 720 | 2008 | 2 | 1232 | 952 | 2184 | 2012 | 4912 | 3872 | 8784
2007-07-31 | 5 | 1 | 400 | 344 | 744 | 2008 | 3 | 1232 | 976 | 2208 | 2013 | 4912 | 3848 | 8760
2007-08-31 | 4 | 0 | 432 | 312 | 744 | 2008 | 4 | 1232 | 977 | 2209 | 2014 | 4912 | 3848 | 8760
2007-09-30 | 5 | 1 | 384 | 336 | 720 | 2009 | 1 | 1216 | 943 | 2159 | 2015 | 4912 | 3848 | 8760
2007-10-31 | 4 | 0 | 432 | 312 | 744 | 2009 | 2 | 1232 | 952 | 2184 | 2016 | 4928 | 3856 | 8784
2007-11-30 | 4 | 1 | 400 | 321 | 721 | 2009 | 3 | 1232 | 976 | 2208 | 2017 | 4896 | 3864 | 8760
2007-12-31 | 5 | 1 | 400 | 344 | 744 | 2009 | 4 | 1232 | 977 | 2209 | 2018 | 4912 | 3848 | 8760
2008-01-31 | 4 | 1 | 416 | 328 | 744 | 2010 | 1 | 1216 | 943 | 2159 | 2019 | 4912 | 3848 | 8760
2008-02-29 | 4 | 0 | 400 | 296 | 696 | 2010 | 2 | 1232 | 952 | 2184 | 2020 | 4928 | 3856 | 8784
2008-03-31 | 5 | 0 | 416 | 327 | 743 | 2010 | 3 | 1232 | 976 | 2208 | 2021 | 4912 | 3848 | 8760
2008-04-30 | 4 | 0 | 416 | 304 | 720 | 2010 | 4 | 1232 | 977 | 2209 | 2022 | 4912 | 3848 | 8760
2008-05-31 | 4 | 1 | 416 | 328 | 744 | 2011 | 1 | 1216 | 943 | 2159 | 2023 | 4896 | 3864 | 8760
2008-06-30 | 5 | 0 | 400 | 320 | 720 | 2011 | 2 | 1232 | 952 | 2184 | 2024 | 4928 | 3856 | 8784
2008-07-31 | 4 | 1 | 416 | 328 | 744 | 2011 | 3 | 1232 | 976 | 2208 | 2025 | 4912 | 3848 | 8760
2008-08-31 | 5 | 0 | 416 | 328 | 744 | 2011 | 4 | 1232 | 977 | 2209 | 2026 | 4912 | 3848 | 8760
2008-09-30 | 4 | 1 | 400 | 320 | 720 | 2012 | 1 | 1232 | 951 | 2183 | 2027 | 4912 | 3848 | 8760
2008-10-31 | 4 | 0 | 432 | 312 | 744 | 2012 | 2 | 1232 | 952 | 2184 | 2028 | 4912 | 3872 | 8784
2008-11-30 | 5 | 1 | 384 | 337 | 721 | 2012 | 3 | 1216 | 992 | 2208 | 2029 | 4912 | 3848 | 8760
2008-12-31 | 4 | 1 | 416 | 328 | 744 | 2012 | 4 | 1232 | 977 | 2209 | 2030 | 4912 | 3848 | 8760
2009-01-31 | 4 | 1 | 416 | 328 | 744 | 2013 | 1 | 1216 | 943 | 2159
2009-02-28 | 4 | 0 | 384 | 288 | 672 | 2013 | 2 | 1232 | 952 | 2184
2009-03-31 | 5 | 0 | 416 | 327 | 743 | 2013 | 3 | 1232 | 976 | 2208
2009-04-30 | 4 | 0 | 416 | 304 | 720 | 2013 | 4 | 1232 | 977 | 2209
2009-05-31 | 5 | 1 | 400 | 344 | 744 | 2014 | 1 | 1216 | 943 | 2159
2009-06-30 | 4 | 0 | 416 | 304 | 720 | 2014 | 2 | 1232 | 952 | 2184
2009-07-31 | 4 | 1 | 416 | 328 | 744 | 2014 | 3 | 1232 | 976 | 2208
2009-08-31 | 5 | 0 | 416 | 328 | 744 | 2014 | 4 | 1232 | 977 | 2209
2009-09-30 | 4 | 1 | 400 | 320 | 720 | 2015 | 1 | 1216 | 943 | 2159
2009-10-31 | 4 | 0 | 432 | 312 | 744 | 2015 | 2 | 1232 | 952 | 2184
2009-11-30 | 5 | 1 | 384 | 337 | 721 | 2015 | 3 | 1232 | 976 | 2208
2009-12-31 | 4 | 1 | 416 | 328 | 744 | 2015 | 4 | 1232 | 977 | 2209
2010-01-31 | 5 | 1 | 400 | 344 | 744 | 2016 | 1 | 1232 | 951 | 2183
2010-02-28 | 4 | 0 | 384 | 288 | 672 | 2016 | 2 | 1232 | 952 | 2184
2010-03-31 | 4 | 0 | 432 | 311 | 743 | 2016 | 3 | 1232 | 976 | 2208
2010-04-30 | 4 | 0 | 416 | 304 | 720 | 2016 | 4 | 1232 | 977 | 2209
2010-05-31 | 5 | 1 | 400 | 344 | 744 | 2017 | 1 | 1216 | 943 | 2159
2010-06-30 | 4 | 0 | 416 | 304 | 720 | 2017 | 2 | 1232 | 952 | 2184
2010-07-31 | 4 | 1 | 416 | 328 | 744 | 2017 | 3 | 1232 | 976 | 2208
2010-08-31 | 5 | 0 | 416 | 328 | 744 | 2017 | 4 | 1216 | 993 | 2209
2010-09-30 | 4 | 1 | 400 | 320 | 720 | 2018 | 1 | 1232 | 927 | 2159
2010-10-31 | 5 | 0 | 416 | 328 | 744 | 2018 | 2 | 1232 | 952 | 2184
2010-11-30 | 4 | 1 | 400 | 321 | 721 | 2018 | 3 | 1216 | 992 | 2208
2010-12-31 | 4 | 1 | 416 | 328 | 744 | 2018 | 4 | 1232 | 977 | 2209
2011-01-31 | 5 | 1 | 400 | 344 | 744 | 2019 | 1 | 1216 | 943 | 2159
2011-02-28 | 4 | 0 | 384 | 288 | 672 | 2019 | 2 | 1232 | 952 | 2184
2011-03-31 | 4 | 0 | 432 | 311 | 743 | 2019 | 3 | 1232 | 976 | 2208
2011-04-30 | 4 | 0 | 416 | 304 | 720 | 2019 | 4 | 1232 | 977 | 2209
2011-05-31 | 5 | 1 | 400 | 344 | 744 | 2020 | 1 | 1232 | 951 | 2183
2011-06-30 | 4 | 0 | 416 | 304 | 720 | 2020 | 2 | 1232 | 952 | 2184
2011-07-31 | 5 | 1 | 400 | 344 | 744 | 2020 | 3 | 1232 | 976 | 2208
2011-08-31 | 4 | 0 | 432 | 312 | 744 | 2020 | 4 | 1232 | 977 | 2209
2011-09-30 | 4 | 1 | 400 | 320 | 720 | 2021 | 1 | 1216 | 943 | 2159
2011-10-31 | 5 | 0 | 416 | 328 | 744 | 2021 | 2 | 1232 | 952 | 2184
2011-11-30 | 4 | 1 | 400 | 321 | 721 | 2021 | 3 | 1232 | 976 | 2208
2011-12-31 | 4 | 1 | 416 | 328 | 744 | 2021 | 4 | 1232 | 977 | 2209
2012-01-31 | 5 | 1 | 400 | 344 | 744 | 2022 | 1 | 1216 | 943 | 2159
2012-02-29 | 4 | 0 | 400 | 296 | 696 | 2022 | 2 | 1232 | 952 | 2184
2012-03-31 | 4 | 0 | 432 | 311 | 743 | 2022 | 3 | 1232 | 976 | 2208
2012-04-30 | 5 | 0 | 400 | 320 | 720 | 2022 | 4 | 1232 | 977 | 2209
2012-05-31 | 4 | 1 | 416 | 328 | 744 | 2023 | 1 | 1216 | 943 | 2159
2012-06-30 | 4 | 0 | 416 | 304 | 720 | 2023 | 2 | 1232 | 952 | 2184
2012-07-31 | 5 | 1 | 400 | 344 | 744 | 2023 | 3 | 1232 | 976 | 2208
2012-08-31 | 4 | 0 | 432 | 312 | 744 | 2023 | 4 | 1216 | 993 | 2209
2012-09-30 | 5 | 1 | 384 | 336 | 720 | 2024 | 1 | 1232 | 951 | 2183
2012-10-31 | 4 | 0 | 432 | 312 | 744 | 2024 | 2 | 1232 | 952 | 2184
2012-11-30 | 4 | 1 | 400 | 321 | 721 | 2024 | 3 | 1232 | 976 | 2208
2012-12-31 | 5 | 1 | 400 | 344 | 744 | 2024 | 4 | 1232 | 977 | 2209
2013-01-31 | 4 | 1 | 416 | 328 | 744 | 2025 | 1 | 1216 | 943 | 2159
2013-02-28 | 4 | 0 | 384 | 288 | 672 | 2025 | 2 | 1232 | 952 | 2184
2013-03-31 | 5 | 0 | 416 | 327 | 743 | 2025 | 3 | 1232 | 976 | 2208
2013-04-30 | 4 | 0 | 416 | 304 | 720 | 2025 | 4 | 1232 | 977 | 2209
2013-05-31 | 4 | 1 | 416 | 328 | 744 | 2026 | 1 | 1216 | 943 | 2159
2013-06-30 | 5 | 0 | 400 | 320 | 720 | 2026 | 2 | 1232 | 952 | 2184
2013-07-31 | 4 | 1 | 416 | 328 | 744 | 2026 | 3 | 1232 | 976 | 2208
2013-08-31 | 4 | 0 | 432 | 312 | 744 | 2026 | 4 | 1232 | 977 | 2209
2013-09-30 | 5 | 1 | 384 | 336 | 720 | 2027 | 1 | 1216 | 943 | 2159
2013-10-31 | 4 | 0 | 432 | 312 | 744 | 2027 | 2 | 1232 | 952 | 2184
2013-11-30 | 4 | 1 | 400 | 321 | 721 | 2027 | 3 | 1232 | 976 | 2208
2013-12-31 | 5 | 1 | 400 | 344 | 744 | 2027 | 4 | 1232 | 977 | 2209
2014-01-31 | 4 | 1 | 416 | 328 | 744 | 2028 | 1 | 1232 | 951 | 2183
2014-02-28 | 4 | 0 | 384 | 288 | 672 | 2028 | 2 | 1232 | 952 | 2184
2014-03-31 | 5 | 0 | 416 | 327 | 743 | 2028 | 3 | 1232 | 976 | 2208
2014-04-30 | 4 | 0 | 416 | 304 | 720 | 2028 | 4 | 1216 | 993 | 2209
2014-05-31 | 4 | 1 | 416 | 328 | 744 | 2029 | 1 | 1232 | 927 | 2159
2014-06-30 | 5 | 0 | 400 | 320 | 720 | 2029 | 2 | 1232 | 952 | 2184
2014-07-31 | 4 | 1 | 416 | 328 | 744 | 2029 | 3 | 1216 | 992 | 2208
2014-08-31 | 5 | 0 | 416 | 328 | 744 | 2029 | 4 | 1232 | 977 | 2209
2014-09-30 | 4 | 1 | 400 | 320 | 720 | 2030 | 1 | 1216 | 943 | 2159
2014-10-31 | 4 | 0 | 432 | 312 | 744 | 2030 | 2 | 1232 | 952 | 2184
2014-11-30 | 5 | 1 | 384 | 337 | 721 | 2030 | 3 | 1232 | 976 | 2208
2014-12-31 | 4 | 1 | 416 | 328 | 744 | 2030 | 4 | 1232 | 977 | 2209
2015-01-31 | 4 | 1 | 416 | 328 | 744
2015-02-28 | 4 | 0 | 384 | 288 | 672
2015-03-31 | 5 | 0 | 416 | 327 | 743
2015-04-30 | 4 | 0 | 416 | 304 | 720
2015-05-31 | 5 | 1 | 400 | 344 | 744
2015-06-30 | 4 | 0 | 416 | 304 | 720
2015-07-31 | 4 | 1 | 416 | 328 | 744
2015-08-31 | 5 | 0 | 416 | 328 | 744
2015-09-30 | 4 | 1 | 400 | 320 | 720
2015-10-31 | 4 | 0 | 432 | 312 | 744
2015-11-30 | 5 | 1 | 384 | 337 | 721
2015-12-31 | 4 | 1 | 416 | 328 | 744
2016-01-31 | 5 | 1 | 400 | 344 | 744
2016-02-29 | 4 | 0 | 400 | 296 | 696
2016-03-31 | 4 | 0 | 432 | 311 | 743
2016-04-30 | 4 | 0 | 416 | 304 | 720
2016-05-31 | 5 | 1 | 400 | 344 | 744
2016-06-30 | 4 | 0 | 416 | 304 | 720
2016-07-31 | 5 | 1 | 400 | 344 | 744
2016-08-31 | 4 | 0 | 432 | 312 | 744
2016-09-30 | 4 | 1 | 400 | 320 | 720
2016-10-31 | 5 | 0 | 416 | 328 | 744
2016-11-30 | 4 | 1 | 400 | 321 | 721
2016-12-31 | 4 | 1 | 416 | 328 | 744
2017-01-31 | 5 | 1 | 400 | 344 | 744
2017-02-28 | 4 | 0 | 384 | 288 | 672
2017-03-31 | 4 | 0 | 432 | 311 | 743
2017-04-30 | 5 | 0 | 400 | 320 | 720
2017-05-31 | 4 | 1 | 416 | 328 | 744
2017-06-30 | 4 | 0 | 416 | 304 | 720
2017-07-31 | 5 | 1 | 400 | 344 | 744
2017-08-31 | 4 | 0 | 432 | 312 | 744
2017-09-30 | 4 | 1 | 400 | 320 | 720
2017-10-31 | 5 | 0 | 416 | 328 | 744
2017-11-30 | 4 | 1 | 400 | 321 | 721
2017-12-31 | 5 | 1 | 400 | 344 | 744
2018-01-31 | 4 | 1 | 416 | 328 | 744
2018-02-28 | 4 | 0 | 384 | 288 | 672
2018-03-31 | 4 | 0 | 432 | 311 | 743
2018-04-30 | 5 | 0 | 400 | 320 | 720
2018-05-31 | 4 | 1 | 416 | 328 | 744
2018-06-30 | 4 | 0 | 416 | 304 | 720
2018-07-31 | 5 | 1 | 400 | 344 | 744
2018-08-31 | 4 | 0 | 432 | 312 | 744
2018-09-30 | 5 | 1 | 384 | 336 | 720
2018-10-31 | 4 | 0 | 432 | 312 | 744
2018-11-30 | 4 | 1 | 400 | 321 | 721
2018-12-31 | 5 | 1 | 400 | 344 | 744
2019-01-31 | 4 | 1 | 416 | 328 | 744
2019-02-28 | 4 | 0 | 384 | 288 | 672
2019-03-31 | 5 | 0 | 416 | 327 | 743
2019-04-30 | 4 | 0 | 416 | 304 | 720
2019-05-31 | 4 | 1 | 416 | 328 | 744
2019-06-30 | 5 | 0 | 400 | 320 | 720
2019-07-31 | 4 | 1 | 416 | 328 | 744
2019-08-31 | 4 | 0 | 432 | 312 | 744
2019-09-30 | 5 | 1 | 384 | 336 | 720
2019-10-31 | 4 | 0 | 432 | 312 | 744
2019-11-30 | 4 | 1 | 400 | 321 | 721
2019-12-31 | 5 | 1 | 400 | 344 | 744
2020-01-31 | 4 | 1 | 416 | 328 | 744
2020-02-29 | 4 | 0 | 400 | 296 | 696
2020-03-31 | 5 | 0 | 416 | 327 | 743
2020-04-30 | 4 | 0 | 416 | 304 | 720
2020-05-31 | 5 | 1 | 400 | 344 | 744
2020-06-30 | 4 | 0 | 416 | 304 | 720
2020-07-31 | 4 | 1 | 416 | 328 | 744
2020-08-31 | 5 | 0 | 416 | 328 | 744
2020-09-30 | 4 | 1 | 400 | 320 | 720
2020-10-31 | 4 | 0 | 432 | 312 | 744
2020-11-30 | 5 | 1 | 384 | 337 | 721
2020-12-31 | 4 | 1 | 416 | 328 | 744
2021-01-31 | 5 | 1 | 400 | 344 | 744
2021-02-28 | 4 | 0 | 384 | 288 | 672
2021-03-31 | 4 | 0 | 432 | 311 | 743
2021-04-30 | 4 | 0 | 416 | 304 | 720
2021-05-31 | 5 | 1 | 400 | 344 | 744
2021-06-30 | 4 | 0 | 416 | 304 | 720
2021-07-31 | 4 | 1 | 416 | 328 | 744
2021-08-31 | 5 | 0 | 416 | 328 | 744
2021-09-30 | 4 | 1 | 400 | 320 | 720
2021-10-31 | 5 | 0 | 416 | 328 | 744
2021-11-30 | 4 | 1 | 400 | 321 | 721
2021-12-31 | 4 | 1 | 416 | 328 | 744
2022-01-31 | 5 | 1 | 400 | 344 | 744
2022-02-28 | 4 | 0 | 384 | 288 | 672
2022-03-31 | 4 | 0 | 432 | 311 | 743
2022-04-30 | 4 | 0 | 416 | 304 | 720
2022-05-31 | 5 | 1 | 400 | 344 | 744
2022-06-30 | 4 | 0 | 416 | 304 | 720
2022-07-31 | 5 | 1 | 400 | 344 | 744
2022-08-31 | 4 | 0 | 432 | 312 | 744
2022-09-30 | 4 | 1 | 400 | 320 | 720
2022-10-31 | 5 | 0 | 416 | 328 | 744
2022-11-30 | 4 | 1 | 400 | 321 | 721
2022-12-31 | 4 | 1 | 416 | 328 | 744
2023-01-31 | 5 | 1 | 400 | 344 | 744
2023-02-28 | 4 | 0 | 384 | 288 | 672
2023-03-31 | 4 | 0 | 432 | 311 | 743
2023-04-30 | 5 | 0 | 400 | 320 | 720
2023-05-31 | 4 | 1 | 416 | 328 | 744
2023-06-30 | 4 | 0 | 416 | 304 | 720
2023-07-31 | 5 | 1 | 400 | 344 | 744
2023-08-31 | 4 | 0 | 432 | 312 | 744
2023-09-30 | 4 | 1 | 400 | 320 | 720
2023-10-31 | 5 | 0 | 416 | 328 | 744
2023-11-30 | 4 | 1 | 400 | 321 | 721
2023-12-31 | 5 | 1 | 400 | 344 | 744
2024-01-31 | 4 | 1 | 416 | 328 | 744
2024-02-29 | 4 | 0 | 400 | 296 | 696
2024-03-31 | 5 | 0 | 416 | 327 | 743
2024-04-30 | 4 | 0 | 416 | 304 | 720
2024-05-31 | 4 | 1 | 416 | 328 | 744
2024-06-30 | 5 | 0 | 400 | 320 | 720
2024-07-31 | 4 | 1 | 416 | 328 | 744
2024-08-31 | 4 | 0 | 432 | 312 | 744
2024-09-30 | 5 | 1 | 384 | 336 | 720
2024-10-31 | 4 | 0 | 432 | 312 | 744
2024-11-30 | 4 | 1 | 400 | 321 | 721
2024-12-31 | 5 | 1 | 400 | 344 | 744
2025-01-31 | 4 | 1 | 416 | 328 | 744
2025-02-28 | 4 | 0 | 384 | 288 | 672
2025-03-31 | 5 | 0 | 416 | 327 | 743
2025-04-30 | 4 | 0 | 416 | 304 | 720
2025-05-31 | 4 | 1 | 416 | 328 | 744
2025-06-30 | 5 | 0 | 400 | 320 | 720
2025-07-31 | 4 | 1 | 416 | 328 | 744
2025-08-31 | 5 | 0 | 416 | 328 | 744
2025-09-30 | 4 | 1 | 400 | 320 | 720
2025-10-31 | 4 | 0 | 432 | 312 | 744
2025-11-30 | 5 | 1 | 384 | 337 | 721
2025-12-31 | 4 | 1 | 416 | 328 | 744
2026-01-31 | 4 | 1 | 416 | 328 | 744
2026-02-28 | 4 | 0 | 384 | 288 | 672
2026-03-31 | 5 | 0 | 416 | 327 | 743
2026-04-30 | 4 | 0 | 416 | 304 | 720
2026-05-31 | 5 | 1 | 400 | 344 | 744
2026-06-30 | 4 | 0 | 416 | 304 | 720
2026-07-31 | 4 | 1 | 416 | 328 | 744
2026-08-31 | 5 | 0 | 416 | 328 | 744
2026-09-30 | 4 | 1 | 400 | 320 | 720
2026-10-31 | 4 | 0 | 432 | 312 | 744
2026-11-30 | 5 | 1 | 384 | 337 | 721
2026-12-31 | 4 | 1 | 416 | 328 | 744
2027-01-31 | 5 | 1 | 400 | 344 | 744
2027-02-28 | 4 | 0 | 384 | 288 | 672
2027-03-31 | 4 | 0 | 432 | 311 | 743
2027-04-30 | 4 | 0 | 416 | 304 | 720
2027-05-31 | 5 | 1 | 400 | 344 | 744
2027-06-30 | 4 | 0 | 416 | 304 | 720
2027-07-31 | 4 | 1 | 416 | 328 | 744
2027-08-31 | 5 | 0 | 416 | 328 | 744
2027-09-30 | 4 | 1 | 400 | 320 | 720
2027-10-31 | 5 | 0 | 416 | 328 | 744
2027-11-30 | 4 | 1 | 400 | 321 | 721
2027-12-31 | 4 | 1 | 416 | 328 | 744
2028-01-31 | 5 | 1 | 400 | 344 | 744
2028-02-29 | 4 | 0 | 400 | 296 | 696
2028-03-31 | 4 | 0 | 432 | 311 | 743
2028-04-30 | 5 | 0 | 400 | 320 | 720
2028-05-31 | 4 | 1 | 416 | 328 | 744
2028-06-30 | 4 | 0 | 416 | 304 | 720
2028-07-31 | 5 | 1 | 400 | 344 | 744
2028-08-31 | 4 | 0 | 432 | 312 | 744
2028-09-30 | 4 | 1 | 400 | 320 | 720
2028-10-31 | 5 | 0 | 416 | 328 | 744
2028-11-30 | 4 | 1 | 400 | 321 | 721
2028-12-31 | 5 | 1 | 400 | 344 | 744
2029-01-31 | 4 | 1 | 416 | 328 | 744
2029-02-28 | 4 | 0 | 384 | 288 | 672
2029-03-31 | 4 | 0 | 432 | 311 | 743
2029-04-30 | 5 | 0 | 400 | 320 | 720
2029-05-31 | 4 | 1 | 416 | 328 | 744
2029-06-30 | 4 | 0 | 416 | 304 | 720
2029-07-31 | 5 | 1 | 400 | 344 | 744
2029-08-31 | 4 | 0 | 432 | 312 | 744
2029-09-30 | 5 | 1 | 384 | 336 | 720
2029-10-31 | 4 | 0 | 432 | 312 | 744
2029-11-30 | 4 | 1 | 400 | 321 | 721
2029-12-31 | 5 | 1 | 400 | 344 | 744
2030-01-31 | 4 | 1 | 416 | 328 | 744
2030-02-28 | 4 | 0 | 384 | 288 | 672
2030-03-31 | 5 | 0 | 416 | 327 | 743
2030-04-30 | 4 | 0 | 416 | 304 | 720
2030-05-31 | 4 | 1 | 416 | 328 | 744
2030-06-30 | 5 | 0 | 400 | 320 | 720
2030-07-31 | 4 | 1 | 416 | 328 | 744
2030-08-31 | 4 | 0 | 432 | 312 | 744
2030-09-30 | 5 | 1 | 384 | 336 | 720
2030-10-31 | 4 | 0 | 432 | 312 | 744
2030-11-30 | 4 | 1 | 400 | 321 | 721
2030-12-31 | 5 | 1 | 400 | 344 | 744